HALL B WORKER SAFETY AWARENESS TRAINING (SAF111)

Purpose

Familiarize users with safety hazards and protection systems in the Counting House and Hall.

Training

All users should take guided walkthrough covering the Hall B Counting House, labyrinth and Hall B using the latest update of the Emergency Response Guidelines (ERG) document for the hall.

For this, the user should contact the person responsible for the training,

Hall B/SAF111  - Stepan Stepanyan (x-7196, stepanya@jlab.org)

Doug Tilles (cell:757 810-9576, mailto:tilles@jlab.org)

The guided training will, at a minimum, go over the likely hazards as well as the protection & emergency systems and procedures outlined in Appendix A of the ERG that one finds in the Counting House, personnel access stairs/tunnel and the hall. The JLab Skill Requirements List (SRL) tracking system (i.e. training) will be used to track the training status.

The SAF111 training does not have an expiration date. If however, the conditions of a hall are deemed to have changed sufficiently by the Division Safety Officer, the SAF111 training will be invalidated (forced to expire). The training tracking system will, like with any other training, notify all those affected so that they can make arrangements to take again the guided SAF111 training.

SAF111 training is required for unescorted access to the hall and to be able to take shifts in the Counting House – “escorting” of shift personnel is not allowed.

Emergency Response Guidelines (ERG)

As part of the Experiment Readiness Review Process and Approval, every experiment is required to submit, in addition to the Conduct-of-Operations (COO), Experiment Safety Assessment Document (ESAD) and, Radiation Safety Assessment Document (RSAD), a document that summarizes the location of major hazards in the hall, the location of the various emergency systems as well as emergency procedures and egress routes during that experiment: the Emergency Response Guidelines (ERG) – this document. Shift personnel and anyone else wishing access to the hall during the duration of the experiment, must read and sign to indicate they have understood the COO, ESAD, RSAD and ERG of the experiment. Anyone feeling in doubt with the information contained in the ERG should contact the person responsible for the Hall Worker Awareness Training and schedule guided refresher training.

Purpose

Familiarize users with safety hazards and protection systems in the Counting House and Hall.

Prerequisites to access the halls without escort

ES&H Orientation (SAF100)

Rad Worker I Training or equivalent (must have been issued a dosimeter by JLab)

ODH training (SAF103)

General Access Radiological Work Permit [RWP] (SAF801kd)

Hall B Worker Safety Awareness Training (SAF111)

Reminder

- No one under 18 years may enter the halls

- No sandals or open toe shoes in any hall

- No shorts, long pants are required in the hall

- No food or drinking inside the halls

- Check postings at the entrance to the hall for special requirements (e.g. hardhats are mandatory in Hall B and often required in the other halls). If in doubt, please contact the Hall Work Coordinator or his/her designee,

Hall B  - D. Tilles [cell (757) 810-9576, tilles@jlab.org]

- Check that all work or test set ups follow the work controls indicated in the ESH&Q manual (http://www.jlab.org/ehs/ehsmanual/index.html) and on the supplemental Physics Division Work Planning Guidance (http://www.jlab.org/div_dept/physics_division//work_guidance_final.pdf). If in doubt, consult the Safety Warden of the area in which the work will take place, the Physics Division ESH&Q coordinator (B. Manzlak) or the Physics Division Safety Officer (P. Rossi).

The two-person rule (‘’Buddy Rule’’)

Accessing the halls or performing work in the halls may require that personnel work on teams of at least two people. The two-person rule must be followed when entering Hall B or when performing a task in any of the halls that requires two-persons as indicated by the applicable general JLab safety rules or task OSP/TOSP. Examples of tasks that require two-persons would be operation of the hall crane, use of a man-lift, performing cryogenic, electrical or welding work. Check postings at the entrance to the hall for special requirements. If in doubt, please contact the Hall Work Coordinator or his/her designee.

Undergraduate Students in the Experimental Halls

Regardless of hall or task, undergraduate students must follow the two-person rule during their first three-months at JLab. During that period, undergraduate students are allowed to work in the hall if (a) their work in the hall is always under the supervision of a hall-authorized ``buddy’’ (the ``buddy’’ can not be another undergraduate) and, (b) a permanent JLab staff member is cognizant of the work to be done, has supervisory responsibility for their work and approves the ``buddy’’.

# Appendix A

This appendix lists likely hazards, protection & emergency systems used and emergency procedures to be reviewed during the Hall Worker Awareness Training

Hazards:

- Fire (electrical equipment, breaker panels, paper, trash, cables)

- Tripping and overhead hazards

- Falling hazards

- Elevated work

- High-pressure systems including low-conductivity water distribution

- Radiation hazards (beam-on, contaminated and activated areas)

- Loud noise hazards (thin vacuum windows)

- Flammable gasses

- Cryogenic (ODH and “cold-bite”)

- Magnets and magnetic fields

- Electrical

  - AC & DC (various voltages)

  - Magnet power supplies and their current distribution systems

  - High-Voltage supplies

Protection & Emergency systems and procedures:

- Signs and postings,

  - Radiation areas

  - Hearing protection requirements

  - Exit signs

  - Exit routes (evacuation plans)

  - Oxygen Deficiency Hazards

- Personnel Protection Requirements (e.g. hardhat, safety glasses, …)

- First Aid kit and Emergency Defibrillator

- Telephone locations with emergency numbers

- Fire

  - Detection systems (e.g. the Very Early Smoke Detection Apparatus [VESDA])

  - Alarm pull boxes

  - Fire alarm bells

  - Extinguishers and escape equipment (Hall B only)

  - Evacuation routes and muster points

- Electrical

  - Power shutoff switches

  - Circuit breaker panels

- Weather related hazards

  - Tornado emergency response

- Emergency lights

- Beam status, interlock and abort

  - Machine State Status Indicators,

  - Magenta/purple beacons,

  - Access doors to hall

  - Key interlocks

  - Run/Safe boxes

- Oxygen Deficiency Hazard condition detection

  - Sensors locations

  - Blue beacons & alarms locations

- Radiation Monitors (Controlled Area Radiation Monitors – CARMs)

- RadCon staging areas for equipment to be removed from hall

- Red beacons for hazards (e.g. energized magnets and cranes)

- Yellow beacons for warning or caution (e.g. energized lasers, forklifts)

- Cabinets for storing flammable materials

- Lockout/Tagout Stations

- Eye wash stations